## Solar Data
City: | CONCORD
State: | NH
WBAN No: | 14745
Lat(N): | 43.2
Long(W): | 71.5
Elev(m): | 105
Pres(mb): | 1003
Stn Type: | Secondary
SOLAR RADIATION FOR FLAT-PLATE COLLECTORS FACING SOUTH AT A FIXED-TILT (kWh/m2/day), Percentage Uncertainty = 11
Tilt(deg) |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Year | kWh/m2/Year
0 | Average | 1.9 | 2.8 | 3.9 | 4.7 | 5.6 | 6.1 | 6.1 | 5.3 | 4.2 | 2.9 | 1.8 | 1.5 | 3.9 | 1429.8 | <
| Minimum | 1.6 | 2.3 | 3.2 | 4 | 4.7 | 5.1 | 5.5 | 4.9 | 3.7 | 2.5 | 1.4 | 1.3 | 3.7 | 1228.8
| Maximum | 2.2 | 3.4 | 4.5 | 5.3 | 6.6 | 6.9 | 6.7 | 5.9 | 4.7 | 3.6 | 2 | 1.7 | 4.1 | 1634.1
Lat - 15 | Average | 3.1 | 4.1 | 4.8 | 5.2 | 5.7 | 5.9 | 6 | 5.7 | 5 | 3.9 | 2.7 | 2.5 | 4.6 | 1666.5 | <
| Minimum | 2.6 | 3.1 | 3.7 | 4.3 | 4.7 | 4.9 | 5.4 | 5.2 | 4.3 | 3.3 | 1.9 | 1.9 | 4.2 | 1383.9
| Maximum | 3.8 | 5.3 | 5.7 | 6 | 6.8 | 6.7 | 6.6 | 6.4 | 5.7 | 5.2 | 3.2 | 3.2 | 4.8 | 1970.8
Lat | Average | 3.5 | 4.5 | 5 | 5.1 | 5.3 | 5.4 | 5.6 | 5.5 | 5 | 4.2 | 3 | 2.8 | 4.6 | 1674.9 | <
| Minimum | 2.9 | 3.4 | 3.8 | 4.1 | 4.4 | 4.5 | 5 | 5 | 4.2 | 3.5 | 2.1 | 2.2 | 4.2 | 1377.2
| Maximum | 4.3 | 6 | 6 | 5.9 | 6.3 | 6.2 | 6.2 | 6.2 | 5.8 | 5.6 | 3.6 | 3.7 | 4.8 | 2006.1
Lat + 15 | Average | 3.8 | 4.7 | 5 | 4.7 | 4.7 | 4.7 | 4.9 | 4.9 | 4.8 | 4.2 | 3.1 | 3.1 | 4.4 | 1604 | <
| Minimum | 3 | 3.5 | 3.7 | 3.8 | 3.9 | 4 | 4.4 | 4.5 | 4 | 3.5 | 2.1 | 2.3 | 4 | 1303.3
| Maximum | 4.7 | 6.3 | 6 | 5.4 | 5.6 | 5.3 | 5.4 | 5.6 | 5.6 | 5.7 | 3.8 | 4.1 | 4.6 | 1935.1
90 | Average | 3.7 | 4.3 | 4.1 | 3.2 | 2.8 | 2.6 | 2.8 | 3.1 | 3.5 | 3.5 | 2.8 | 3 | 3.3 | 1199.9 | <
| Minimum | 2.9 | 3.3 | 2.9 | 2.6 | 2.4 | 2.3 | 2.5 | 2.9 | 2.9 | 2.9 | 1.8 | 2.1 | 3 | 959.9
| Maximum | 4.6 | 5.9 | 5.2 | 3.8 | 3.3 | 2.9 | 3 | 3.6 | 4.1 | 4.7 | 3.4 | 4 | 3.5 | 1475.7
SOLAR RADIATION FOR 1-AXIS TRACKING FLAT-PLATE COLLECTORS WITH A NORTH-SOUTH AXIS (kWh/m2/day), % Uncertainty = 11
Axis Tilt |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Year
0 | Average | 2.8 | 4.1 | 5.4 | 6.3 | 7.2 | 7.9 | 7.9 | 7.1 | 5.6 | 4.1 | 2.5 | 2.2 | 5.3 | 1927.1
| Minimum | 2.2 | 3.2 | 4 | 4.9 | 5.5 | 6 | 6.8 | 6.3 | 4.7 | 3.5 | 1.7 | 1.6 | 4.8 | 1540.2
| Maximum | 3.5 | 5.5 | 6.6 | 7.4 | 8.9 | 9.4 | 8.9 | 8.1 | 6.7 | 5.5 | 3 | 2.8 | 5.6 | 2329
Lat - 15 | Average | 3.7 | 5 | 6.1 | 6.7 | 7.4 | 7.9 | 7.9 | 7.4 | 6.3 | 4.8 | 3.2 | 2.9 | 5.8 | 2115.5
| Minimum | 3 | 3.8 | 4.4 | 5.1 | 5.6 | 6 | 6.9 | 6.6 | 5.2 | 4.1 | 2.1 | 2.2 | 5.3 | 1680.4
| Maximum | 4.6 | 6.9 | 7.4 | 8 | 9.2 | 9.4 | 9 | 8.5 | 7.5 | 6.7 | 3.8 | 3.9 | 6.2 | 2590
Lat | Average | 4.1 | 5.4 | 6.3 | 6.6 | 7.1 | 7.5 | 7.7 | 7.3 | 6.3 | 5 | 3.4 | 3.2 | 5.8 | 2133.2
| Minimum | 3.3 | 4 | 4.5 | 5 | 5.4 | 5.7 | 6.7 | 6.4 | 5.2 | 4.2 | 2.3 | 2.4 | 5.3 | 1683.1
| Maximum | 5.1 | 7.4 | 7.7 | 7.9 | 8.9 | 9.1 | 8.7 | 8.4 | 7.5 | 7 | 4.2 | 4.3 | 6.2 | 2628.8
Lat + 15 | Average | 4.3 | 5.5 | 6.2 | 6.3 | 6.7 | 7 | 7.2 | 6.9 | 6.1 | 5.1 | 3.5 | 3.4 | 5.7 | 2080.9
| Minimum | 3.4 | 4.1 | 4.4 | 4.8 | 5 | 5.3 | 6.2 | 6.1 | 5 | 4.2 | 2.3 | 2.5 | 5.2 | 1627.6
| Maximum | 5.4 | 7.7 | 7.7 | 7.6 | 8.4 | 8.5 | 8.1 | 8 | 7.4 | 7 | 4.3 | 4.6 | 6.1 | 2582.2
SOLAR RADIATION FOR 2-AXIS TRACKING FLAT-PLATE COLLECTORS (kWh/m2/day), Percentage Uncertainty = 11
Tracker |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Year
2-Axis | Average | 4.3 | 5.5 | 6.3 | 6.7 | 7.5 | 8.1 | 8.1 | 7.4 | 6.3 | 5.1 | 3.5 | 3.5 | 6 | 2206.5
| Minimum | 3.4 | 4.1 | 4.5 | 5.1 | 5.7 | 6.2 | 7.1 | 6.6 | 5.2 | 4.2 | 2.3 | 2.5 | 5.5 | 1738
| Maximum | 5.4 | 7.6 | 7.6 | 8 | 9.3 | 9.7 | 9.2 | 8.6 | 7.6 | 7 | 4.3 | 4.7 | 6.4 | 2714.2
DIRECT BEAM SOLAR RADIATION FOR CONCENTRATING COLLECTORS (kWh/m2/day), Percentage Uncertainty = 11
Tracker |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Year | CONCORD
1-X, E-W | Average | 2.4 | 2.7 | 2.8 | 3 | 3.3 | 3.6 | 3.7 | 3.4 | 3 | 2.7 | 1.9 | 1.9 | 2.9 | 1049.8
Hor Axis | Minimum | 1.6 | 1.8 | 1.5 | 1.9 | 1.9 | 2.1 | 3 | 2.7 | 2.2 | 2 | 1.1 | 0.9 | 2.4 | 693.2
| Maximum | 3.2 | 4.4 | 3.7 | 3.9 | 4.7 | 4.8 | 4.5 | 4.2 | 4 | 4.3 | 2.6 | 2.9 | 3.2 | 1438.7
1-X, N-S | Average | 1.6 | 2.3 | 3.1 | 3.8 | 4.4 | 4.8 | 4.9 | 4.4 | 3.5 | 2.5 | 1.4 | 1.2 | 3.2 | 1158
Hor Axis | Minimum | 1.1 | 1.6 | 1.7 | 2.4 | 2.5 | 2.8 | 3.9 | 3.5 | 2.6 | 1.9 | 0.8 | 0.6 | 2.6 | 776.6
| Maximum | 2.1 | 3.9 | 4 | 5.1 | 6.2 | 6.5 | 5.9 | 5.5 | 4.7 | 4.1 | 1.9 | 1.8 | 3.6 | 1577.5
1-X, N-S | Average | 2.6 | 3.3 | 3.8 | 4.1 | 4.3 | 4.6 | 4.7 | 4.6 | 4.1 | 3.4 | 2.2 | 2 | 3.6 | 1333.9
Tilt=Lat | Minimum | 1.7 | 2.2 | 2.1 | 2.6 | 2.5 | 2.6 | 3.8 | 3.7 | 3 | 2.5 | 1.2 | 1 | 3 | 882.9
| Maximum | 3.4 | 5.4 | 4.8 | 5.4 | 6.1 | 6.2 | 5.7 | 5.7 | 5.4 | 5.4 | 2.9 | 3 | 4 | 1810.7
2-X | Average | 2.8 | 3.4 | 3.8 | 4.2 | 4.6 | 5 | 5.1 | 4.7 | 4.1 | 3.4 | 2.3 | 2.2 | 3.8 | 1391.9
| Minimum | 1.8 | 2.3 | 2.1 | 2.6 | 2.6 | 2.9 | 4.1 | 3.8 | 3 | 2.6 | 1.3 | 1.1 | 3.1 | 922.5
| Maximum | 3.6 | 5.5 | 4.8 | 5.5 | 6.5 | 6.7 | 6.1 | 5.9 | 5.4 | 5.4 | 3.1 | 3.3 | 4.2 | 1884
AVERAGE CLIMATIC CONDITIONS
Element |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Year
Temp. | (deg C) | -7.4 | -5.7 | 0.2 | 6.6 | 12.9 | 17.9 | 20.8 | 19.6 | 14.9 | 8.8 | 2.8 | -4.3 | 7.3
Daily Min | (deg C) | -13.7 | -12 | -5.5 | -0.3 | 5.2 | 10.7 | 13.6 | 12.6 | 7.8 | 1.6 | -2.8 | -9.8 | 0.6
Daily Max | (deg C) | -1.2 | 0.6 | 6 | 13.5 | 20.5 | 25.2 | 28 | 26.6 | 22 | 15.9 | 8.4 | 1.2 | 13.9
Record Lo | (deg C) | -36.1 | -38.3 | -26.7 | -13.3 | -6.1 | -1.1 | 1.7 | -1.7 | -6.1 | -12.2 | -20.6 | -30 | -38.3
Record Hi | (deg C) | 20 | 18.9 | 29.4 | 35 | 36.1 | 36.7 | 38.9 | 38.3 | 36.7 | 32.2 | 26.7 | 20 | 38.9
HDD,Base= | 18.3C | 799 | 672 | 562 | 352 | 173 | 39 | 7 | 22 | 109 | 296 | 465 | 701 | 4197
CDD,Base= | 18.3C | 0 | 0 | 0 | 0 | 4 | 26 | 85 | 62 | 6 | 0 | 0 | 0 | 182
Rel Hum | percent | 68 | 66 | 65 | 62 | 65 | 71 | 72 | 75 | 76 | 73 | 73 | 72 | 70
Wind Spd. | (m/s) | 3 | 3.2 | 3.5 | 3.5 | 3 | 2.9 | 2.5 | 2.4 | 2.4 | 2.5 | 3 | 3 | 3

## Array Output
| Tilt: | lat |  | Watts: | 1000000 |  | Efficiency (%): |  | 85
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Year
kWh/M2/Day => | 3.5 | 4.5 | 5 | 5.1 | 5.3 | 5.4 | 5.6 | 5.5 | 5 | 4.2 | 3 | 2.8 | 4.6 | kWh/m2/Day
DC kWh => | 108500 | 126000 | 155000 | 153000 | 164300 | 162000 | 173600 | 170500 | 150000 | 130200 | 90000 | 86800 | 1674900 | <=DCkWh
AC kWh => | 92225 | 107100 | 131750 | 130050 | 139655 | 137700 | 147560 | 144925 | 127500 | 110670 | 76500 | 73780 | 1423665 | <=ACkWh
Enter Values:
System Cost per Watt: | Jan: 5.5
System Lifespan: | Jan: 25; Feb: Years
Utility cost/kWh: | Jan: 0.2; Feb: per kWh
Lifetime production: | Jan: 35591625; Feb: kWh
System Cost: | Jan: 5500000
Amortised cost/kWh | Jan: 0.15453
$ production/Yr. | Jan: 284733
Simple Payback: | Jan: 19.3163; Feb: Years
Enter the proposed module tilt without spaces, for example, "lat-15". Standard utility intertie inverter efficiencies are around 90%, vs. 75% for bimodals such as the Trace SW and 85% for modified sine wave standalone models. Remember that the data from NREL is +- 9% in accuracy.